#### Water Services Section

Municipal Services Dept.

Level 3, County Hall

## Dún Laoghaire

Co. Dublin

Ph. (01)2054 795

Surface Water Connection Application Conditions

All applicants are advised that a connection will only be provided on condition that the development complies with the requirements of the Sanitary Authority (Local Government Planning & Control) Act 1990). In particular, applicants should note the following:

- Dún Laoghaire/Rathdown County Council will carry out all connection work to public sewers at the applicant’s expense (unless otherwise agreed by the Drainage Section).

- Connections to the public sewer will not be granted under any circumstances until the internal drainage layout has been completed in accordance with the appropriate Planning Permission conditions.

- A site location map, a drawing showing the location of the public sewer and the proposed connection and a drawing detailing the ‘as constructed’ drainage layout must be submitted, in A3 or A4 format.

(Note: If any of these drawings are not provided the application will not be processed).

- If any Public Area is being opened (i.e. road, footpath or grass margin) a Road Opening Licence must be obtained prior to connection. Licenses must be applied for on-line at www.rmo.ie.

- It is a matter for the applicant to ensure that they have adequate fall from their site to the public sewer. In general, the outgoing invert level of the connection pipe should allow for a fall of at least 1:100 to the crown level of the receiving public sewer. Details regarding positions and levels of public sewers can be requested from the Technical Services Section (ph. 01 2054700) or e-mail info@dlrcoco.ie

- Applicants must investigate the location of adjacent services and ensure that there is an unobstructed route from the site to the public sewer to allow the connection work to proceed.

Applicants should note that the connection process takes a minimum of 5 weeks to complete.

Application for Surface Water Connection

| Name & Address of Applicant |  | Site Address for Connection |
| --- | --- | --- |
| Telephone |  |  |
| E-mail |  |  |
| Note: If all contact details are not provided the application will not be processed. |  |  |

| SITE DETAILS |  |
| --- | --- |
| Description of Premises |  |
| Year of Construction |  |
| Number Domestic Houses |  |
| Number Apartments |  |
| Number Commercial Units (number persons & nature of business) |  |

| CONNECTION DETAILS | Surface Water Connection |
| --- | --- |
| Number of Connections Required |  |
| Connecting Pipe Diameter |  |
| Invert Level of Connection |  |
| Type of Connection:- Manhole |  |
| Saddle |  |
| Backdrop Required |  |
| Approximate Date When Connections Required |  |

| PLANNING PERMISSION DETAILS |  |
| --- | --- |
| Planning Application No: |  |
| Decision Order No: |  |
| Permission Date: |  |
| Road Opening Licence Number: |  |

If trade waste will be discharged to the public sewer, please state the nature of the discharge and the quantity.

I hereby certify that all particulars are complete and comply with the requirements of the Environmental Services Section.

Signature of Applicant: _________________   Date: _____________

Please submit all completed applications via e-mail to Wsenquiries@dlrcoco.ie or by post to the Water Services Section, Level 3, DLR Co. Co., County Hall, Marine Road, Dún Laoghaire, Co. Dublin.

NB – A site location map and a drainage layout drawing as detailed in Section 3 of the enclosed notes must be included with the application.